Rajiv Gandhi University of Health Sciences, Karnataka

III Year Pharm-D Degree Examination – NOV 2017
Time: Three Hours 





       

       
Max. Marks: 70 Marks

pharmaceutical Analysis (RS & RS2)
Q.P. CODE: 2862

Your answers should be specific to the questions asked

Draw neat, labeled diagrams wherever necessary

	LONG ESSAYS (answer any two)
	2 x 10 = 20 Marks

	1.
	With a neat labeled diagram, explain the working principle and instrumentation of HPLC

	2.
	Describe the principle ofa Potentiometric titrations? Write the construction and working of a calomel electrode & glass electrode?

	3.
	Explain various methods of preparing TLC plates and its applications.


	SHORT ESSAYS (answer any six)
	6 x 5 = 30 Marks

	4.
	Explain the concepts of statistical quality control

	5.
	What is the principle in a) Normal-Phase Chromatography b) Reverse –Phase Chromatography c) Ion- Exchange Chromatography d) Ion-pair Chromatography

	6.
	Write a brief note on HPTLC

	7.
	Explain the term- Red Shift, Blue Shift, hypochromic shift, hyperchromic shift giving suitable examples for each along with λmax and ∑ values.

	8.
	Write a note on ICH Guidelines 

	9.
	Explain the principle underlying “Dead- Stop end point technique” and Null point potentiometry

	10.
	What is the principle involved in conductometric titrations? Explain with the help of different titration curves.

	11.
	What is Nebulization? Write a note on burners used and their significance.


	SHORT ANSWERS
	10 x 2 = 20 Marks

	12.
	Explain the various region of electromagnetic spectrum

	13.
	Mention the electronic transitions in UV spectroscopy

	14.
	Differentiate  between fluorescence from phosphorescence

	15.
	What is self quenching

	16.
	Give the application of ESR

	17.
	What is K-band? Give example

	18.
	How is the efficiency of an ion-exchange resin measured?

	19.
	What is C18 or ODS? What is its use in Chromatography

	20.
	What is the relationship between emf & pH?

	21.
	What are auto titrimeters?  What is the principle of operation?


*****







