Rajiv Gandhi University of Health Sciences, Karnataka

VIII Semester B. Pharm Degree Examination – 13-Jun-2023
Time: Three Hours 





       

           Max. Marks: 75 
Advanced instrumentation techniques
Q.P. CODE: 5043
Your answers should be specific to the questions asked

Draw neat labeled diagrams wherever necessary

All the Questions are compulsory

	LONG ESSAYS 
	2 x 10 = 20 Marks

	1.
	Write a note on coupling and decoupling methods and their significance in NMR Spectroscopy. Add a note on 13CNMR
                 OR
Explain the production and detection of X-rays by any two methods.


	2.
	Discuss the different validation parameters for the analytical instruments.


	SHORT ESSAYS 
	7 x 5 = 35 Marks

	3.
	Explain Spin-Spin coupling and coupling constant.

                 OR
Discuss the instrumentation and application of DSC.


	4.
	Enlist the different X-ray Diffraction techniques and explain the application of X-ray diffraction.
                OR
Describe the ionization techniques used in mass spectrometry.

	5.
	Explain the methodology involved in the calibration of UV-VIS Spectrophotometer.

	6.
	Describe the principle and procedure involved in the solid phase extraction.

	7.
	Explain different methods of Ionisation in mass spectrometry.

	8.
	Discuss about instrumentation and sampling techniques of GC-MS/MS.

	9.
	Explain the principle, advantages and requirements of Radio Immuno Assay.

	SHORT ANSWERS 
	10 x 2 = 20 Marks

	10.
	Classify different kinds of ELISA.

	11.
	Define singlet, doublet and triplet in 1HNMR

	12.
	Define full validation and partial validation.

	13.
	Give the applications of HPTLC-MS.

	14.
	Define Radio Immuno Assay.

	15.
	How IR Spectrophotometer is Calibrated? 

	16.
	What is plate theory and rate theory?

	17.
	Give the applications of x-ray diffraction methods  

	18.
	Define Bragg’s law.

	19.
	Give the internal standards used in NMR.


******

