Rajiv Gandhi University of Health Sciences, Karnataka

VIII Semester B. Pharm Degree Examination – 18-Nov-2023
Time: Three Hours 





       

           Max. Marks: 75 
Advanced instrumentation techniques
Q.P. CODE: 5043
Your answers should be specific to the questions asked

Draw neat labeled diagrams wherever necessary

All the Questions are compulsory

	LONG ESSAYS 
	2 x 10 = 20 Marks

	1.
	Write a note on Coupling and Decoupling methods in NMR Spectroscopy. Add a note on applications of 13CNMR
                     OR
Explain the calibration methods for the HPLC and GC as per ICH guidelines 


	2.
	Write the principle and working of differential scanning calorimeter (DSC). Add a note on its applications  


	SHORT ESSAYS 
	7 x 5 = 35 Marks

	3.
	Briefly outline the instrumentation of Mass Spectrometer. 

                     OR
State and derive an equation for Bragg’s law.


	4.
	Explain the methodology involved in the calibration of HPLC. 

                     OR
Explain the utilization of ELISA technology in the measurement of biological activities.


	5.
	Write the various components, Limitations and application of Radio Immune Assay.

	6.
	Explain validation parameter for electronic balance.

	7.
	Give a brief outline of principle of FT-NMR and 13CNMR

	8.
	Discuss in detail about the LC-MS/MS technique.

	9.
	Discuss the principle and working of DTA


	SHORT ANSWERS 
	10 x 2 = 20 Marks

	10.
	Define quenching and give example

	11.
	Detector used in Flame Photometer.

	12.
	Define Singlet, Doublet and triplet in 1HNM. 

	13.
	Enlist application of thermo gravimetric analysis (TGA).

	14.
	Write the various components Radio Immuno Assay.

	15.
	Define Spin-Spin coupling.

	16.
	Mention the applications of thermal methods of analysis 

	17.
	Enlist the ICH guidelines.

	18.
	Define validation and calibration. 

	19.
	Mention the Advantages of HPTLC-MS techniques.


******

