Rajiv Gandhi University of Health Sciences, Karnataka

VIII Semester B. Pharm Degree Examination – 16-May-2025
Time: Three Hours 





       

           Max. Marks: 75 
Advanced instrumentation techniques
Q.P. CODE: 5043
Your answers should be specific to the questions asked

Draw neat labeled diagrams wherever necessary

All the Questions are compulsory

	LONG ESSAYS 
	2 x 10 = 20 Marks

	1.
	Explain instrumentation of Mass spectroscopy and give its applications.  Enlist various ionization techniques employed in the mass spectroscopy and explain chemical ionization
                     OR
Explain principle, instrumentation and working of Differential Thermal Analysis (DTA)

	2.
	Explain validation of analytical method of HPLC as per ICH guidelines


	SHORT ESSAYS 
	7 x 5 = 35 Marks

	3.
	Explain the principle involved in 1H NMR and its application    
                    OR
Discuss applications of X-ray diffraction techniques

	4.
	Explain the principle and instrumentation of thermo gravimetric analysis
                     OR
Explain briefly Time of flight analyser 

	5.
	Write a note on limitations and applications of Radio immune assay

	6.
	Explain principle of HPTLC-MS and give its applications

	7.
	Explain the procedure involved in liquid – liquid extraction and its application

	8.
	What is calibration?  Write a note on importance of calibrating instruments frequently

	9.
	Explain coupling constant with examples


	SHORT ANSWERS 
	10 x 2 = 20 Marks

	10.
	Define Bragg’s law

	11.
	Define calibration

	12.
	Write sampling techniques of LC-MS

	13.
	Define Radio immune assay

	14.
	What are hyphenated techniques?

	15.
	Write applications of NMR

	16.
	Enlist detectors used in X-ray diffraction

	17.
	Give advantages of Solid phase extraction

	18.
	Discuss the qualification of Fluorimeter

	19.
	Define full validation and partial validation


******

